[Organization Name]

Contractor Safety and Health Agreement

Contractors and subcontractors must review and sign this Agreement before commencing work at the host facility.

Contractor/Subcontractor

Company Name _______________________________________________________

Assigned Work Location(s) ______________________________________________

Initial each item below. Insert “N/A” if the item is not applicable to the scope of the contract work.

General Work Practices

(    ) All work in areas where there is imminent danger to employees will cease until the dangerous condition is removed.

(    ) Contractor employees will maintain good housekeeping procedures in and around their work area(s).

(    ) Safety meetings will be held as required to communicate jobsite safety information to all contractor employees regularly working at the host facility property.

(    ) Cooperate with periodic monitoring by the Administrator or designee for compliance with safety and health requirements.

(    ) Correct hazardous conditions or safety program deficiencies discovered by the Administrator.

(    ) All equipment and tools will be maintained in good working order in compliance with regulatory and host facility standards and according to manufacturer’s instructions.

(    ) Damaged equipment, including power tools, power cords, and electrical or fuel-powered devices, will not be used at host facility worksites.

(    ) Ensure that competent employees conduct routine safety inspections of the worksite(s), materials, and equipment, and make inspection records available to the host facility Administrator.

(    ) Alcohol, illegal drugs, and firearms will not be permitted in host facility work areas. Any contractor employee observed under the influence of alcohol or illegal drugs or carrying firearms will be immediately removed from work areas.

Training

(    ) All contractor employees will have completed safety and health training when required by law and host facility requirements before work begins.

Personal Protective Equipment (PPE)

(    ) Provide all contractor employees with required PPE in accordance with host facility and regulatory requirements.

(    ) All contractor employees will wear appropriate work clothing, including PPE when required.

(    ) PPE will not be substituted for feasible engineering and administrative controls to protect employees from occupational hazards.

(    ) Where respirators are required for contractor employees, a written respiratory protection program will be prepared and implemented, and the document will be made available to the host facility Administrator before any work with respirators is begun. Contractor employees will work under the host facility’s written program if preapproved by the host facility Administrator.

Hazardous Substances

(    ) No hazardous or flammable chemicals will be brought onto [host facility name] property without notifying the Administrator or designee.

(    ) Make copies of safety data sheets (SDSs) available to the Administrator and host facility employees for all hazardous chemicals brought to the worksite.

(    ) Provide information to the Administrator and host facility employees about any special precautionary measures that must be taken when working with or around hazardous substances brought on-site by the contractor.

(    ) Chemicals, paints, oils, or other hazardous substances will neither be discharged to any drain nor discarded with normal solid waste.

Accidents

(    ) Any accidents or cases of job-related injuries or illnesses involving contractor employees will be immediately reported to the Administrator or designee.

(    ) Ensure that accidents or incidents that result in injury to or illness of contractor employees or damage to property are properly investigated, and submit a comprehensive report of findings and recommendations to the host facility Administrator.

Emergencies

(    ) Emergency and evacuation procedures stipulated by the Administrator or designee will be explained to contractor employees, and the contractor will follow such procedures.

(    ) Contractor employees will be trained to follow host facility emergency evacuation plans for the area(s) they are working in.

(    ) Contractors/subcontractors will know the location of the nearest fire extinguisher; pull station alarm, and first-aid supplies.

(    ) In the event of a fire or other emergency, sound the alarm, follow host facility evacuation procedures, and notify the Administrator or designee.

Work Permits

Before beginning work in a hazardous area, complete and submit to the Administrator or designee the following work permits (obtain permit forms from the Administrator or designee):

(    ) Confine Space Entry Permit

(    ) Hot Work Permit

Reporting and Recordkeeping

(    ) All occupational injuries to and illnesses of contractor employees beyond first aid will be recorded on the contractor’s illness and injury recordkeeping forms.

(    ) Provide the Administrator or designee, on request, with documentation of all required training, medical exams, permits, SDSs, and other safety-related documents related to contractor employees and operations.

Certification

This form must be returned to the host facility Administrator and kept on file.

I, ___________________________________________, agree to comply with all applicable federal, state, and local laws and regulations, the requirements of this Agreement, and all procedures outlined in the Contractor Safety and Health Plan while performing services for the host facility. I understand that violation of these requirements may result in penalties or termination of the contract work. I am responsible for ensuring that all my employees and subcontractors under my supervision comply with occupational safety and health rules.

Contractor Representative

Signature: ____________________________________________________

Print Name: __________________________________________________

Position/Title: ________________________________________________

Date: ____________________________